## TEST-21-févr-13
Frequency (Hz) | Real | Imaginary | 75 ohm load - CAL 50 ohms BNC
1000000 | 0.18971 | -0.00021362
1038735.92 | 0.18979 | -0.0002594
1078972.3114 | 0.18983 | 0.00010681
1120767.2965 | 0.18971 | -0.00024414
1164181.2488 | 0.18959 | -0.00016785
1209276.8804 | 0.18948 | 0
1256119.3329 | 0.18965 | 0
1304776.2708 | 0.1899 | -0.00038147
1355317.98 | 0.1895 | 0
1407817.4688 | 0.18962 | 0.00010681
1462350.5736 | 0.18987 | -0.00012207
1518996.0683 | 0.18976 | -3.0518e-05
1577835.7784 | 0.18987 | -3.0518e-05
1638954.6988 | 0.18976 | 3.0518e-05
1702441.1169 | 0.18973 | -0.00033569
1768386.7397 | 0.18964 | 6.1035e-05
1836886.8269 | 0.18961 | -0.00032043
1908040.328 | 0.18973 | -0.00021362
1981950.0254 | 0.18974 | -9.1553e-05
2058722.6829 | 0.18959 | 4.5776e-05
2138469.2 | 0.18958 | -0.00033569
2221304.7717 | 0.18985 | -0.00010681
2307349.0556 | 0.18971 | 0
2396726.3439 | 0.18959 | -0.00010681
2489565.7437 | 0.18947 | -7.6294e-05
2586001.3631 | 0.18953 | 0
2686172.5049 | 0.18961 | -0.00039673
2790223.868 | 0.18973 | -6.1035e-05
2898305.7564 | 0.18964 | -0.0002594
3010574.2962 | 0.18948 | 0
3127191.6611 | 0.18959 | -9.1553e-05
3248326.307 | 0.18962 | -0.00032043
3374153.2148 | 0.1898 | -9.1553e-05
3504854.1436 | 0.18996 | 1.5259e-05
3640617.8932 | 0.18973 | -4.5776e-05
3781640.5765 | 0.18961 | 0
3928125.9032 | 0.18968 | -0.0002594
4080285.4737 | 0.18982 | -0.00021362
4238339.0852 | 0.18971 | -0.00012207
4402515.0488 | 0.18974 | -0.00016785
4573050.5193 | 0.18962 | 9.1553e-05
4750191.8381 | 0.18959 | -6.1035e-05
4934194.8889 | 0.18982 | -0.00015259
5125325.4672 | 0.1899 | -0.00019836
5323859.6642 | 0.18971 | -7.6294e-05
5530084.266 | 0.1898 | -0.00018311
5744297.1675 | 0.18965 | -9.1553e-05
5966807.8028 | 0.18939 | -7.6294e-05
6197937.5922 | 0.18951 | 3.0518e-05
6438020.4066 | 0.18993 | 0
6687403.0498 | 0.18967 | -0.00015259
6946445.759 | 0.18961 | 0.00019836
7215522.7259 | 0.1897 | -0.00021362
7495022.6366 | 0.18959 | -6.1035e-05
7785349.2335 | 0.18961 | -0.00019836
8086921.8982 | 0.18945 | -0.0002594
8400176.2576 | 0.18965 | -7.6294e-05
8725564.8127 | 0.1897 | -9.1553e-05
9063557.5928 | 0.18959 | -9.1553e-05
9414642.8342 | 0.18971 | -0.0002594
9779327.6854 | 0.18973 | -9.1553e-05
10158138.9399 | 0.18985 | 9.1553e-05
10551623.7967 | 0.18982 | -7.6294e-05
10960350.6515 | 0.18962 | 9.1553e-05
11384909.917 | 0.18965 | -0.00015259
11825914.8762 | 0.18973 | -3.0518e-05
12284002.5682 | 0.18968 | -0.00016785
12759834.7084 | 0.1899 | 0
13254098.6443 | 0.18988 | -4.5776e-05
13767508.3484 | 0.18974 | -0.00022888
14300805.4498 | 0.18964 | -1.5259e-05
14854760.305 | 0.18964 | 9.1553e-05
15430173.1111 | 0.18948 | -0.00012207
16027875.0616 | 0.18985 | 0.00019836
16648729.547 | 0.18961 | 0.00024414
17293633.402 | 0.18974 | -0.00022888
17963518.2012 | 0.18979 | -0.00012207
18659351.6043 | 0.18974 | -1.5259e-05
19382138.7545 | 0.18958 | 1.5259e-05
20132923.7298 | 0.1898 | 0.00012207
20912791.0518 | 0.18961 | 0.00019836
21722867.252 | 0.18948 | -7.6294e-05
22564322.4991 | 0.18959 | 9.1553e-05
23438372.2892 | 0.18962 | 0.00010681
24346279.202 | 0.18974 | 4.5776e-05
25289354.7244 | 0.18987 | -6.1035e-05
26268961.1446 | 0.1899 | 6.1035e-05
27286513.5208 | 0.18961 | -0.00012207
28343481.7244 | 0.1897 | 0.00021362
29441392.5636 | 0.18967 | 7.6294e-05
30581831.9893 | 0.18942 | 6.1035e-05
31766447.3853 | 0.18951 | -7.6294e-05
32996949.9484 | 0.18967 | -7.6294e-05
34275117.1603 | 0.18944 | 1.5259e-05
35602795.3551 | 0.18959 | -0.00022125
36981902.3861 | 0.18989 | -4.5776e-05
38414430.3966 | 0.18986 | -7.6294e-06
39902448.6975 | 0.18946 | -0.00024414
41448106.7562 | 0.18954 | -0.00027466
43053637.3018 | 0.1898 | -0.00038147
44721359.55 | 0.18958 | -0.00013733
46453682.5537 | 0.18939 | -0.00027466
48253108.6827 | 0.18971 | 3.0518e-05
50122237.2381 | 0.18936 | -0.00035095
52063768.2077 | 0.1893 | -0.00018311
54080506.1655 | 0.18953 | -0.00022888
56175364.3234 | 0.18948 | 4.5776e-05
58351368.7391 | 0.18957 | -0.00029755
60611662.6878 | 0.18971 | -0.00022125
62959511.2019 | 0.18967 | -0.00045776
65398305.7882 | 0.18938 | -8.3923e-05
67931569.3263 | 0.18951 | -0.00039673
70562961.158 | 0.18944 | -0.00027466
73296282.3732 | 0.1897 | -0.0004425
76135481.3001 | 0.18956 | -0.00045776
79084659.2093 | 0.18961 | -0.00038147
82148076.238 | 0.18956 | -0.00057983
85330157.5435 | 0.18935 | -0.00022888
88635499.6958 | 0.18942 | -0.00062561
92068877.317 | 0.18898 | -0.00067139
95635249.979 | 0.18922 | -0.00071716
99339769.3669 | 0.18922 | -0.00080872
103187786.7213 | 0.18927 | -0.00073242
107184860.568 | 0.18919 | -0.0006485
111336764.7472 | 0.189 | -0.00088501
115649496.7543 | 0.18893 | -0.00079346
120129286.4033 | 0.18903 | -0.0010376
124782604.8255 | 0.18906 | -0.0011139
129616173.8176 | 0.18881 | -0.0010605
134636975.5513 | 0.18886 | -0.0012207
139852262.6591 | 0.18852 | -0.001358
145269568.7108 | 0.18872 | -0.0014954
150896719.096 | 0.18835 | -0.0013428
156741842.3282 | 0.18826 | -0.0018158
162813381.786 | 0.18822 | -0.0015564
169120107.9103 | 0.18796 | -0.0019913
175671130.8728 | 0.18805 | -0.0021133
182475913.7365 | 0.18808 | -0.002121
189544286.1244 | 0.18804 | -0.0025253
196886458.4194 | 0.18793 | -0.0025711
204513036.5127 | 0.1877 | -0.0027924
212435037.1245 | 0.18799 | -0.0028839
220663903.718 | 0.18752 | -0.003006
229211523.029 | 0.1875 | -0.0032196
238090242.2375 | 0.18736 | -0.0034943
247312886.8026 | 0.18745 | -0.0035095
256892778.9893 | 0.18747 | -0.0040588
266843757.1129 | 0.18724 | -0.0041046
277180195.5285 | 0.18732 | -0.0042419
287917025.3952 | 0.18726 | -0.0043182
299069756.2442 | 0.18745 | -0.004509
310654498.3827 | 0.18687 | -0.0045624
322687986.1653 | 0.18688 | -0.0047226
335187602.1674 | 0.18663 | -0.0050201
348171402.2944 | 0.18646 | -0.0048065
361658141.8638 | 0.18578 | -0.0049438
375667302.6976 | 0.18524 | -0.0051346
390219121.2641 | 0.18517 | -0.0049591
405334617.9098 | 0.1844 | -0.0058441
421035627.2236 | 0.18375 | -0.0055237
437344829.5773 | 0.18316 | -0.0058365
454285783.888 | 0.1827 | -0.0062027
471882961.6487 | 0.18211 | -0.0063324
490161782.2786 | 0.18161 | -0.0068054
509148649.8413 | 0.18107 | -0.0070419
528870991.1861 | 0.18076 | -0.0072708
549357295.5664 | 0.1801 | -0.007309
570637155.7934 | 0.17888 | -0.0074463
592741310.9828 | 0.17864 | -0.0074387
615701690.9583 | 0.17719 | -0.0075378
639551462.3746 | 0.17574 | -0.0073853
664325076.6273 | 0.17455 | -0.0074768
690058319.6188 | 0.17322 | -0.0079193
716788363.4509 | 0.17183 | -0.0079803
744553820.1212 | 0.17068 | -0.0077209
773394797.2986 | 0.16938 | -0.0080414
803352956.2593 | 0.16762 | -0.0079346
834471572.0675 | 0.16573 | -0.007576
866795596.0867 | 0.16391 | -0.0073395
900371720.9128 | 0.16182 | -0.0074921
935248447.8226 | 0.15958 | -0.0072327
971476156.8342 | 0.15736 | -0.0068665
1009107179.4822 | 0.15502 | -0.0065002
1048195874.4113 | 0.15218 | -0.0055695
1088798705.8982 | 0.14877 | -0.0048981
1130974325.4155 | 0.14517 | -0.0041885
1174783656.3544 | 0.14204 | -0.0034637
1220289982.0298 | 0.13843 | -0.0025635
1267559037.094 | 0.13488 | -0.0010605
1316659102.4913 | 0.13032 | 0.0006485
1367661104.0917 | 0.125 | 0.0018005
1420638715.1435 | 0.1201 | 0.003006
1475668462.6963 | 0.11648 | 0.0044556
1532829838.1454 | 0.11217 | 0.0069962
1592205412.0584 | 0.10678 | 0.0099869
1653880953.4496 | 0.10075 | 0.013889
1717945553.6753 | 0.095654 | 0.0177
1784491755.1271 | 0.088711 | 0.022739
1853615684.9117 | 0.081497 | 0.026249
1925417193.7072 | 0.075523 | 0.02985
2000000000 | 0.069557 | 0.03656

## SMA-Cal
Frequency (Hz) | Real | Imaginary | SMA Cal
1000000 | 0.20099 | -3.8147e-05
1038735.92 | 0.2012 | 0.00019073
1078972.3114 | 0.20088 | 0
1120767.2965 | 0.20108 | 0
1164181.2488 | 0.2012 | 0.0001297
1209276.8804 | 0.2011 | -9.9182e-05
1256119.3329 | 0.20116 | 0.00018311
1304776.2708 | 0.20091 | 7.6294e-05
1355317.98 | 0.20114 | -8.3923e-05
1407817.4688 | 0.20132 | 0.00027466
1462350.5736 | 0.20119 | 0.00041199
1518996.0683 | 0.20085 | 0.0001297
1577835.7784 | 0.20078 | 0.00036621
1638954.6988 | 0.20085 | 0.00026703
1702441.1169 | 0.2012 | 0.00016022
1768386.7397 | 0.20103 | -7.6294e-06
1836886.8269 | 0.20097 | 0.00027466
1908040.328 | 0.20102 | 6.1035e-05
1981950.0254 | 0.20116 | 0.00017548
2058722.6829 | 0.20126 | 0.00024414
2138469.2 | 0.2011 | 0.00040436
2221304.7717 | 0.20134 | 0.00013733
2307349.0556 | 0.20113 | 7.6294e-06
2396726.3439 | 0.20088 | 0.00017548
2489565.7437 | 0.20119 | 0.00028229
2586001.3631 | 0.20099 | 0.00036621
2686172.5049 | 0.20103 | 7.6294e-06
2790223.868 | 0.20071 | 0.00028229
2898305.7564 | 0.20116 | 0.00039673
3010574.2962 | 0.20107 | 0.00019073
3127191.6611 | 0.2011 | 0.00037384
3248326.307 | 0.20123 | 0.00039673
3374153.2148 | 0.20113 | 0.00028992
3504854.1436 | 0.20111 | 0.00048828
3640617.8932 | 0.20096 | 0.00046539
3781640.5765 | 0.2012 | 0.00061798
3928125.9032 | 0.20111 | 0.00041962
4080285.4737 | 0.20132 | 0.0005722
4238339.0852 | 0.2011 | 0.00016022
4402515.0488 | 0.20119 | 0.00032806
4573050.5193 | 0.20101 | 0.00047302
4750191.8381 | 0.20101 | 0.00036621
4934194.8889 | 0.20106 | 0.00086975
5125325.4672 | 0.20139 | 0.00062561
5323859.6642 | 0.20123 | 0.0005722
5530084.266 | 0.20121 | 0.00046539
5744297.1675 | 0.2013 | 0.0003891
5966807.8028 | 0.20129 | 0.00053406
6197937.5922 | 0.2012 | 0.00048065
6438020.4066 | 0.20137 | 0.00067139
6687403.0498 | 0.20114 | 0.00042725
6946445.759 | 0.20126 | 0.00068665
7215522.7259 | 0.20126 | 0.00052643
7495022.6366 | 0.20135 | 0.00058746
7785349.2335 | 0.20107 | 0.00079346
8086921.8982 | 0.20104 | 0.00070953
8400176.2576 | 0.20119 | 0.00073242
8725564.8127 | 0.201 | 0.00074005
9063557.5928 | 0.20134 | 0.00092316
9414642.8342 | 0.20137 | 0.00088501
9779327.6854 | 0.20119 | 0.00099182
10158138.9399 | 0.20141 | 0.00094604
10551623.7967 | 0.20102 | 0.001152
10960350.6515 | 0.20109 | 0.00097656
11384909.917 | 0.20136 | 0.0012207
11825914.8762 | 0.20103 | 0.0011444
12284002.5682 | 0.20124 | 0.00095367
12759834.7084 | 0.20125 | 0.0011749
13254098.6443 | 0.20123 | 0.001358
13767508.3484 | 0.20136 | 0.0013809
14300805.4498 | 0.20119 | 0.0012283
14854760.305 | 0.20135 | 0.0013809
15430173.1111 | 0.20119 | 0.0013885
16027875.0616 | 0.20133 | 0.001564
16648729.547 | 0.20113 | 0.0020065
17293633.402 | 0.20119 | 0.0017776
17963518.2012 | 0.20115 | 0.0017242
18659351.6043 | 0.20118 | 0.0018692
19382138.7545 | 0.20126 | 0.002037
20132923.7298 | 0.20133 | 0.0017548
20912791.0518 | 0.20126 | 0.0022125
21722867.252 | 0.20123 | 0.0021362
22564322.4991 | 0.20137 | 0.0021515
23438372.2892 | 0.201 | 0.0024414
24346279.202 | 0.20135 | 0.0023422
25289354.7244 | 0.20104 | 0.0025558
26268961.1446 | 0.20132 | 0.0024719
27286513.5208 | 0.20128 | 0.0027008
28343481.7244 | 0.20113 | 0.002861
29441392.5636 | 0.20119 | 0.0028839
30581831.9893 | 0.20135 | 0.0030136
31766447.3853 | 0.20112 | 0.0033188
32996949.9484 | 0.20112 | 0.0030212
34275117.1603 | 0.20115 | 0.0033493
35602795.3551 | 0.20126 | 0.003479
36981902.3861 | 0.2011 | 0.003624
38414430.3966 | 0.20112 | 0.0035477
39902448.6975 | 0.20123 | 0.003746
41448106.7562 | 0.20109 | 0.0038376
43053637.3018 | 0.20101 | 0.0041122
44721359.55 | 0.20103 | 0.0044861
46453682.5537 | 0.20089 | 0.0043106
48253108.6827 | 0.20107 | 0.0043411
50122237.2381 | 0.20107 | 0.0047455
52063768.2077 | 0.20126 | 0.00457
54080506.1655 | 0.2012 | 0.0048294
56175364.3234 | 0.2011 | 0.0051575
58351368.7391 | 0.20116 | 0.0053864
60611662.6878 | 0.20128 | 0.0055389
62959511.2019 | 0.2011 | 0.0053253
65398305.7882 | 0.20114 | 0.0059967
67931569.3263 | 0.20126 | 0.0061798
70562961.158 | 0.20119 | 0.006218
73296282.3732 | 0.20108 | 0.0062714
76135481.3001 | 0.20118 | 0.0066833
79084659.2093 | 0.20094 | 0.0067825
82148076.238 | 0.20108 | 0.007225
85330157.5435 | 0.20077 | 0.0074921
88635499.6958 | 0.20097 | 0.0075531
92068877.317 | 0.20108 | 0.0079498
95635249.979 | 0.20074 | 0.0080948
99339769.3669 | 0.20113 | 0.0082626
103187786.7213 | 0.20083 | 0.0087967
107184860.568 | 0.20103 | 0.0092697
111336764.7472 | 0.20082 | 0.0095139
115649496.7543 | 0.20049 | 0.0097122
120129286.4033 | 0.20054 | 0.010078
124782604.8255 | 0.2006 | 0.010185
129616173.8176 | 0.20078 | 0.010696
134636975.5513 | 0.20065 | 0.011253
139852262.6591 | 0.20082 | 0.011597
145269568.7108 | 0.20047 | 0.011871
150896719.096 | 0.20053 | 0.012375
156741842.3282 | 0.20057 | 0.012589
162813381.786 | 0.20016 | 0.013313
169120107.9103 | 0.20053 | 0.01355
175671130.8728 | 0.20048 | 0.014
182475913.7365 | 0.20027 | 0.01445
189544286.1244 | 0.2 | 0.014984
196886458.4194 | 0.20048 | 0.015465
204513036.5127 | 0.20027 | 0.016006
212435037.1245 | 0.2001 | 0.016899
220663903.718 | 0.20017 | 0.017014
229211523.029 | 0.19998 | 0.017731
238090242.2375 | 0.19965 | 0.018051
247312886.8026 | 0.20002 | 0.018967
256892778.9893 | 0.19979 | 0.019569
266843757.1129 | 0.19976 | 0.020348
277180195.5285 | 0.19987 | 0.021286
287917025.3952 | 0.20004 | 0.022171
299069756.2442 | 0.19982 | 0.022911
310654498.3827 | 0.19942 | 0.023949
322687986.1653 | 0.19942 | 0.025215
335187602.1674 | 0.19909 | 0.02626
348171402.2944 | 0.19902 | 0.027267
361658141.8638 | 0.19852 | 0.028496
375667302.6976 | 0.19804 | 0.029564
390219121.2641 | 0.19775 | 0.030602
405334617.9098 | 0.19704 | 0.031631
421035627.2236 | 0.19653 | 0.032494
437344829.5773 | 0.19601 | 0.033569
454285783.888 | 0.19574 | 0.034706
471882961.6487 | 0.19537 | 0.035767
490161782.2786 | 0.19497 | 0.037254
509148649.8413 | 0.19422 | 0.039032
528870991.1861 | 0.19378 | 0.040421
549357295.5664 | 0.19344 | 0.042366
570637155.7934 | 0.19247 | 0.044357
592741310.9828 | 0.19134 | 0.046204
615701690.9583 | 0.19012 | 0.048019
639551462.3746 | 0.18806 | 0.0495
664325076.6273 | 0.18711 | 0.050369
690058319.6188 | 0.18584 | 0.052139
716788363.4509 | 0.18497 | 0.053284
744553820.1212 | 0.18402 | 0.055336
773394797.2986 | 0.18253 | 0.057106
803352956.2593 | 0.18137 | 0.059418
834471572.0675 | 0.17934 | 0.061211
866795596.0867 | 0.17754 | 0.063194
900371720.9128 | 0.1762 | 0.064781
935248447.8226 | 0.17496 | 0.06691
971476156.8342 | 0.17412 | 0.070045
1009107179.4822 | 0.17184 | 0.073677
1048195874.4113 | 0.16866 | 0.076782
1088798705.8982 | 0.16531 | 0.079041
1130974325.4155 | 0.16248 | 0.081161
1174783656.3544 | 0.15982 | 0.084221
1220289982.0298 | 0.15697 | 0.086395
1267559037.094 | 0.15422 | 0.089569
1316659102.4913 | 0.15017 | 0.092773
1367661104.0917 | 0.14699 | 0.095505
1420638715.1435 | 0.14394 | 0.099174
1475668462.6963 | 0.14033 | 0.10396
1532829838.1454 | 0.13537 | 0.10855
1592205412.0584 | 0.12929 | 0.11309
1653880953.4496 | 0.12413 | 0.11514
1717945553.6753 | 0.11961 | 0.11978
1784491755.1271 | 0.11275 | 0.12591
1853615684.9117 | 0.10494 | 0.12902
1925417193.7072 | 0.10017 | 0.13232
2000000000 | 0.093842 | 0.13946

## S11-DATA-CVTR
S11 VNA DATA CONVERTER | [9 empty] | J. Audet ver 1.3 Oct. 2014
For one port networks |  |  |  |  | VNA Ref. Z |  | New Z |  |  | ve2azx.net
[5 empty] | 50 |  | 75
| ENTER S11 DATA as dB / Angle or S[11] Re / Im | [7 empty] | Add header for TT format: # Hz S RI R 50 |  |  |  | Set HP VNA in S11 - Smith Chart mode
[5 empty] | Return |  | Calculated
[5 empty] | Loss |  | R L |  |  | ohms | ohms |  |  | ohms |  | ohms | ohms
MHz | dB | Angle | Re[S11] | Im[S11] | dB | SWR | dB | Conv S11 to Complex | Calc complex Z | Real Z | Imag Z | Series L/C | Units | Mag Z | Q factor | Parallel Rp | Parallel Xp | Parallel L/C | Units
10 | -10.1 | -80 | 0.054284 | -0.30786 | -10.1 | 1.9095 | -9.277 | 5.42837985343266E-002-0.307858719727517i | 45.6083855255842-31.1233699047395i | 45.6084 | -31.1234 | 511.368 | pF | 55.2158 | 0.6824 | 66.8471 | -97.9582 | 162.4723 | pF
10.5 | -10.2 | -79.5 | 0.056316 | -0.30385 | -10.2 | 1.8945 | -9.3883 | 5.63161612070097E-002-0.303854814984146i | 46.0133873719368-30.9151527838136i | 46.0134 | -30.9152 | 490.2972 | pF | 55.4345 | 0.67187 | 66.7844 | -99.4004 | 152.4905 | pF
11 | -10.3 | -79 | 0.058291 | -0.29988 | -10.3 | 1.8797 | -9.4998 | 5.82906428567248E-002-0.299879360802055i | 46.4131049645853-30.7019358684386i | 46.4131 | -30.7019 | 471.2612 | pF | 55.6488 | 0.66149 | 66.7222 | -100.8661 | 143.4439 | pF
11.5 | -10.4 | -78.5 | 0.060208 | -0.29593 | -10.4 | 1.8653 | -9.6117 | 6.02081536536212E-002-0.295932529758411i | 46.80743548641-30.4838453262751i | 46.8074 | -30.4838 | 453.9965 | pF | 55.8588 | 0.65126 | 66.6604 | -102.3559 | 135.2102 | pF
12 | -10.5 | -78 | 0.06207 | -0.29201 | -10.5 | 1.8512 | -9.7239 | 6.20695948037184E-002-0.292014484596701i | 47.1962803921039-30.2610103757932i | 47.1963 | -30.261 | 438.2838 | pF | 56.0644 | 0.64117 | 66.5988 | -103.8702 | 127.6873 | pF
12.5 | -10.6 | -77.5 | 0.063876 | -0.28813 | -10.6 | 1.8374 | -9.8365 | 6.3875858567024E-002-0.28812537841699i | 47.5795455131195-30.0335631059446i | 47.5795 | -30.0336 | 423.9389 | pF | 56.2657 | 0.63123 | 66.5376 | -105.4097 | 120.7896 | pF
13 | -10.7 | -77 | 0.065628 | -0.28427 | -10.7 | 1.8238 | -9.9493 | 6.56278282770836E-002-0.284265354863851i | 47.9571411536395-29.8016382916692i | 47.9571 | -29.8016 | 410.8059 | pF | 56.4626 | 0.62142 | 66.4765 | -106.9748 | 114.4446 | pF
13.5 | -10.8 | -76.5 | 0.067326 | -0.28043 | -10.8 | 1.8106 | -10.0624 | 6.73263783619284E-002-0.280434548311961i | 48.3289821773884-29.5653732057529i | 48.329 | -29.5654 | 398.7521 | pF | 56.6551 | 0.61175 | 66.4157 | -108.5663 | 108.5904 | pF
14 | -10.9 | -76 | 0.068972 | -0.27663 | -10.9 | 1.7976 | -10.1759 | 6.89723743663827E-002-0.276633084049384i | 48.6949880851444-29.3249074275642i | 48.695 | -29.3249 | 387.664 | pF | 56.8432 | 0.60222 | 66.3549 | -110.1846 | 103.1743 | pF
14.5 | -11 | -75.5 | 0.070567 | -0.27286 | -11 | 1.7849 | -10.2896 | 7.05666729756962E-002-0.272861078458561i | 49.0550830828389-29.0803826492i | 49.0551 | -29.0804 | 377.4436 | pF | 57.0269 | 0.59281 | 66.2942 | -111.8304 | 98.1505 | pF
15 | -11.1 | -75 | 0.07211 | -0.26912 | -11.1 | 1.7724 | -10.4036 | 7.21101220404676E-002-0.269118639195018i | 49.4091961401592-28.8319424795763i | 49.4092 | -28.8319 | 368.0061 | pF | 57.2062 | 0.58353 | 66.2336 | -113.5043 | 93.4795 | pF
15.5 | -11.2 | -74.5 | 0.073604 | -0.26541 | -11.2 | 1.7602 | -10.5178 | 7.36035606028215E-002-0.265405865363796i | 49.7572610396213-28.579732246997i | 49.7573 | -28.5797 | 359.2777 | pF | 57.3811 | 0.57438 | 66.173 | -115.207 | 89.127 | pF
16 | -11.3 | -74 | 0.075048 | -0.26172 | -11.3 | 1.7483 | -10.6323 | 7.50478189238081E-002-0.261722847693645i | 50.0992164160948-28.3238988007368i | 50.0992 | -28.3239 | 351.194 | pF | 57.5515 | 0.56536 | 66.1123 | -116.9392 | 85.0629 | pF
16.5 | -11.4 | -73.5 | 0.076444 | -0.25807 | -11.4 | 1.7366 | -10.7471 | 7.64437185119907E-002-0.258069668708972i | 50.4350057868041-28.0645903121614i | 50.435 | -28.0646 | 343.6984 | pF | 57.7175 | 0.55645 | 66.0516 | -118.7016 | 81.2605 | pF
17 | -11.5 | -73 | 0.077792 | -0.25445 | -11.5 | 1.7251 | -10.862 | 7.77920721531884E-002-0.254446402899563i | 50.7645775718686-27.8019560759132i | 50.7646 | -27.802 | 336.7409 | pF | 57.8791 | 0.54766 | 65.9907 | -120.4948 | 77.6968 | pF
17.5 | -11.6 | -72.5 | 0.079094 | -0.25085 | -11.6 | 1.7138 | -10.9772 | 7.909368394134E-002-0.250853116888113i | 51.0878851054602-27.5361463116699i | 51.0879 | -27.5361 | 330.2774 | pF | 58.0363 | 0.539 | 65.9297 | -122.3196 | 74.3508 | pF
18 | -11.7 | -72 | 0.080349 | -0.24729 | -11.7 | 1.7028 | -11.0926 | 8.03493493104609E-002-0.247289869595549i | 51.4048866377045-27.2673119669817i | 51.4049 | -27.2673 | 324.2689 | pF | 58.1891 | 0.53044 | 65.8686 | -124.1768 | 71.2044 | pF
18.5 | -11.8 | -71.5 | 0.08156 | -0.24376 | -11.8 | 1.6919 | -11.2082 | 8.15598550676572E-002-0.243756712404197i | 51.7155453274687-26.9956045216754i | 51.7155 | -26.9956 | 318.6804 | pF | 58.3375 | 0.522 | 65.8073 | -126.0672 | 68.2411 | pF
19 | -11.9 | -71 | 0.082726 | -0.24025 | -11.9 | 1.6813 | -11.3239 | 8.27259794271696E-002-0.240253689318772i | 52.0198292262157-26.7211757942983i | 52.0198 | -26.7212 | 313.4808 | pF | 58.4815 | 0.51367 | 65.7458 | -127.9915 | 65.4463 | pF
19.5 | -12 | -70.5 | 0.083848 | -0.23678 | -12 | 1.6709 | -11.4398 | 8.38484920454138E-002-0.23678083712524i | 52.3177112531276-26.4441777510615i | 52.3177 | -26.4442 | 308.6423 | pF | 58.6211 | 0.50545 | 65.684 | -129.9506 | 62.8069 | pF
20 | -12.1 | -70 | 0.084928 | -0.23334 | -12.1 | 1.6607 | -11.5558 | 8.49281540569904E-002-0.233338185547545i | 52.6091691617267-26.1647623177225i | 52.6092 | -26.1648 | 304.1399 | pF | 58.7564 | 0.49734 | 65.622 | -131.9454 | 60.3109 | pF
20.5 | -12.2 | -69.5 | 0.085966 | -0.22993 | -12.2 | 1.6507 | -11.672 | 8.59657181116321E-002-0.229925757402226i | 52.8941854982448-25.8830811948238i | 52.8942 | -25.8831 | 299.951 | pF | 58.8874 | 0.48934 | 65.5597 | -133.9767 | 57.9478 | pF
21 | -12.3 | -69 | 0.086962 | -0.22654 | -12.3 | 1.6408 | -11.7883 | 8.69619284120612E-002-0.226543568750946i | 53.1727475520218-25.5992856766918i | 53.1727 | -25.5993 | 296.0554 | pF | 59.0141 | 0.48144 | 65.4972 | -136.0454 | 55.7079 | pF
21.5 | -12.4 | -68.5 | 0.087918 | -0.22319 | -12.4 | 1.6312 | -11.9046 | 8.7917520752727E-002-0.223191629050934i | 53.4448472982215-25.3135264745677i | 53.4448 | -25.3135 | 292.4348 | pF | 59.1365 | 0.47364 | 65.4343 | -138.1525 | 53.5825 | pF
22 | -12.5 | -68 | 0.088833 | -0.21987 | -12.5 | 1.6217 | -12.021 | 8.8833222559398E-002-0.21986994130337i | 53.7104813331831-25.0259535442267i | 53.7105 | -25.026 | 289.0725 | pF | 59.2547 | 0.46594 | 65.3711 | -140.2989 | 51.5636 | pF
22.5 | -12.6 | -67.5 | 0.08971 | -0.21658 | -12.6 | 1.6124 | -12.1375 | 8.97097529295776E-002-0.216578502199726i | 53.9696508027376-24.7367159184157i | 53.9697 | -24.7367 | 285.9536 | pF | 59.3686 | 0.45834 | 65.3076 | -142.4857 | 49.6439 | pF
23 | -12.7 | -67 | 0.090548 | -0.21332 | -12.7 | 1.6033 | -12.254 | 9.05478226737189E-002-0.21331730226607i | 54.2223613238328-24.4459615444115i | 54.2224 | -24.446 | 283.0643 | pF | 59.4783 | 0.45085 | 65.2437 | -144.7139 | 47.817 | pF
23.5 | -12.8 | -66.5 | 0.091348 | -0.21009 | -12.8 | 1.5943 | -12.3705 | 9.13481343572114E-002-0.210086326005369i | 54.4686228998262-24.1538371269826i | 54.4686 | -24.1538 | 280.3923 | pF | 59.5839 | 0.44344 | 65.1795 | -146.9845 | 46.0766 | pF
24 | -12.9 | -66 | 0.092111 | -0.20689 | -12.9 | 1.5855 | -12.4869 | 9.21113823431121E-002-0.206885552037781i | 54.7084498298151-23.8604879770048i | 54.7084 | -23.8605 | 277.9263 | pF | 59.6853 | 0.43614 | 65.1149 | -149.2986 | 44.4174 | pF
24.5 | -13 | -65.5 | 0.092838 | -0.20371 | -13 | 1.5769 | -12.6033 | 9.28382528355972E-002-0.203714953238983i | 54.9418606123787-23.5660578659611i | 54.9419 | -23.5661 | 275.6558 | pF | 59.7827 | 0.42893 | 65.05 | -151.6574 | 42.8342 | pF
25 | -13.1 | -65 | 0.093529 | -0.20057 | -13.1 | 1.5684 | -12.7196 | 9.35294239241072E-002-0.20057449687652i | 55.1688778441204-23.2706888865266i | 55.1689 | -23.2707 | 273.5715 | pF | 59.876 | 0.42181 | 64.9846 | -154.0621 | 41.3223 | pF
25.5 | -13.2 | -64.5 | 0.094186 | -0.19746 | -13.2 | 1.5601 | -12.8358 | 9.41855656281619E-002-0.197464144744222i | 55.3895281133993-22.9745213194149i | 55.3895 | -22.9745 | 271.6649 | pF | 59.9652 | 0.41478 | 64.9189 | -156.5137 | 39.8775 | pF
26 | -13.3 | -64 | 0.094807 | -0.19438 | -13.3 | 1.5519 | -12.9518 | 9.48073399428194E-002-0.194383853294677i | 55.6038418896442-22.6776935066333i | 55.6038 | -22.6777 | 269.928 | pF | 60.0505 | 0.40784 | 64.8528 | -159.0137 | 38.4957 | pF
26.5 | -13.4 | -63.5 | 0.095395 | -0.19133 | -13.4 | 1.5439 | -13.0677 | 9.53954008847573E-002-0.191333573769801i | 55.8118534086425-22.3803417312747i | 55.8119 | -22.3803 | 268.3537 | pF | 60.1319 | 0.401 | 64.7863 | -161.5633 | 37.1733 | pF
27 | -13.5 | -63 | 0.09595 | -0.18831 | -13.5 | 1.536 | -13.1834 | 9.59503945389494E-002-0.188313252329506i | 56.0136005542053-22.0826001039426i | 56.0136 | -22.0826 | 266.9354 | pF | 60.2093 | 0.39424 | 64.7194 | -164.1639 | 35.907 | pF
27.5 | -13.6 | -62.5 | 0.096473 | -0.18532 | -13.6 | 1.5282 | -13.2988 | 9.64729591059175E-002-0.185322830178488i | 56.2091247365968-21.7846004558856i | 56.2091 | -21.7846 | 265.6671 | pF | 60.283 | 0.38756 | 64.652 | -166.8167 | 34.6935 | pF
28 | -13.7 | -62 | 0.096964 | -0.18236 | -13.7 | 1.5206 | -13.414 | 9.69637249495336E-002-0.18236224369115i | 56.3984707681194-21.4864722388889i | 56.3985 | -21.4865 | 264.5434 | pF | 60.3528 | 0.38098 | 64.5843 | -169.5232 | 33.5299 | pF
28.5 | -13.8 | -61.5 | 0.097423 | -0.17943 | -13.8 | 1.5131 | -13.5288 | 9.74233146453513E-002-0.179431424534685i | 56.5816867362427-21.1883424319554i | 56.5817 | -21.1883 | 263.5593 | pF | 60.4188 | 0.37447 | 64.5162 | -172.285 | 32.4136 | pF
29 | -13.9 | -61 | 0.097852 | -0.17653 | -13.9 | 1.5058 | -13.6433 | 9.78523430294438E-002-0.176530299790317i | 56.7588238746505-20.8903354547744i | 56.7588 | -20.8903 | 262.7101 | pF | 60.4812 | 0.36805 | 64.4476 | -175.1035 | 31.342 | pF
29.5 | -14 | -60.5 | 0.098251 | -0.17366 | -14 | 1.4985 | -13.7574 | 9.82514172477261E-002-0.173658792072739i | 56.9299364325849-20.5925730879677i | 56.9299 | -20.5926 | 261.9917 | pF | 60.5398 | 0.36172 | 64.3786 | -177.9803 | 30.3128 | pF
30 | -14.1 | -60 | 0.098621 | -0.17082 | -14.1 | 1.4914 | -13.8711 | 9.86211368057427E-002-0.170816819647747i | 57.0950815428423-20.2951744000702i | 57.0951 | -20.2952 | 261.4003 | pF | 60.5949 | 0.35546 | 64.3093 | -180.917 | 29.3237 | pF
30.5 | -14.2 | -59.5 | 0.098962 | -0.168 | -14.2 | 1.4844 | -13.9843 | 9.89620936188968E-002-0.168004296548097i | 57.2543190887879-19.9982556811939i | 57.2543 | -19.9983 | 260.9325 | pF | 60.6464 | 0.34929 | 64.2395 | -183.9154 | 28.3728 | pF
31 | -14.3 | -59 | 0.099275 | -0.16522 | -14.3 | 1.4776 | -14.097 | 9.92748720631029E-002-0.165221132687595i | 57.4077115707132-19.7019303832933i | 57.4077 | -19.7019 | 260.5851 | pF | 60.6944 | 0.34319 | 64.1693 | -186.9772 | 27.4581 | pF
31.5 | -14.4 | -58.5 | 0.09956 | -0.16247 | -14.4 | 1.4708 | -14.2091 | 9.95600490258419E-002-0.162467233973445i | 57.5553239718911-19.4063090669468i | 57.5553 | -19.4063 | 260.3554 | pF | 60.739 | 0.33718 | 64.0987 | -190.1042 | 26.5777 | pF
32 | -14.5 | -58 | 0.099818 | -0.15974 | -14.5 | 1.4642 | -14.3206 | 9.98181939575982E-002-0.159742502416861i | 57.6972236246257-19.1114993545377i | 57.6972 | -19.1115 | 260.2408 | pF | 60.7801 | 0.33124 | 64.0277 | -193.2982 | 25.7301 | pF
32.5 | -14.6 | -57.5 | 0.10005 | -0.15705 | -14.6 | 1.4576 | -14.4314 | 0.100049868923662-0.157046836241967i | 57.8334800766197-18.8176058897177i | 57.8335 | -18.8176 | 260.239 | pF | 60.8179 | 0.32538 | 63.9563 | -196.5613 | 24.9137 | pF
33 | -14.7 | -57 | 0.10026 | -0.15438 | -14.7 | 1.4512 | -14.5415 | 0.100255628656273-0.154380129993i | 57.9641649579443-18.5247303030092i | 57.9642 | -18.5247 | 260.348 | pF | 60.8524 | 0.31959 | 63.8845 | -199.8955 | 24.127 | pF
33.5 | -14.8 | -56.5 | 0.10044 | -0.15174 | -14.8 | 1.4449 | -14.6508 | 0.100436020607096-0.151742274639832i | 58.0893518488914-18.2329711834005i | 58.0894 | -18.233 | 260.5661 | pF | 60.8836 | 0.31388 | 63.8123 | -203.3028 | 23.3686 | pF
34 | -14.9 | -56 | 0.10059 | -0.14913 | -14.9 | 1.4387 | -14.7594 | 0.100591584999995-0.149133157681824i | 58.2091161489709-17.9424240557669i | 58.2091 | -17.9424 | 260.8916 | pF | 60.9117 | 0.30824 | 63.7397 | -206.7854 | 22.6371 | pF
34.5 | -15 | -55.5 | 0.10072 | -0.14655 | -15 | 1.4326 | -14.867 | 0.100722854884106-0.146552663250038i | 58.3235349473084-17.6531813639506i | 58.3235 | -17.6532 | 261.3233 | pF | 60.9366 | 0.30268 | 63.6667 | -210.3456 | 21.9315 | pF
35 | -15.1 | -55 | 0.10083 | -0.144 | -15.1 | 1.4266 | -14.9737 | 0.100830356187178-0.144000672207816i | 58.432686894669-17.3653324593133i | 58.4327 | -17.3653 | 261.8599 | pF | 60.9585 | 0.29719 | 63.5934 | -213.9857 | 21.2504 | pF
35.5 | -15.2 | -54.5 | 0.10091 | -0.14148 | -15.2 | 1.4207 | -15.0795 | 0.100914607769168-0.141477062249734i | 58.5366520773325-17.0789635945727i | 58.5367 | -17.079 | 262.5006 | pF | 60.9773 | 0.29177 | 63.5197 | -217.7082 | 20.5929 | pF
36 | -15.3 | -54 | 0.10098 | -0.13898 | -15.3 | 1.4148 | -15.1841 | 0.100976121476078-0.138981707998975i | 58.6355118930203-16.7941579227288i | 58.6355 | -16.7942 | 263.2446 | pF | 60.9932 | 0.28642 | 63.4456 | -221.5155 | 19.9578 | pF
36.5 | -15.4 | -53.5 | 0.10102 | -0.13651 | -15.4 | 1.4091 | -15.2877 | 0.101015402194007-0.136514481103101i | 58.7293489290648-16.5109955008735i | 58.7293 | -16.511 | 264.0912 | pF | 61.0061 | 0.28114 | 63.3712 | -225.4104 | 19.3443 | pF
37 | -15.5 | -53 | 0.10103 | -0.13408 | -15.5 | 1.4035 | -15.3901 | 0.101032947903418-0.134075250328276i | 58.8182468429929-16.2295532986797i | 58.8182 | -16.2296 | 265.0403 | pF | 61.0163 | 0.27593 | 63.2964 | -229.3954 | 18.7514 | pF
37.5 | -15.6 | -52.5 | 0.10103 | -0.13166 | -15.6 | 1.398 | -15.4912 | 0.101029249733585-0.131663881651919i | 58.9022902456835-15.9499052113557i | 58.9023 | -15.9499 | 266.0914 | pF | 61.0236 | 0.27079 | 63.2213 | -233.4734 | 18.1782 | pF
38 | -15.7 | -52 | 0.101 | -0.12928 | -15.7 | 1.3925 | -15.5911 | 0.101004792017222-0.129280238353845i | 58.9815645872391-15.6721220768544i | 58.9816 | -15.6721 | 267.2445 | pF | 61.0282 | 0.26571 | 63.1458 | -237.6475 | 17.624 | pF
38.5 | -15.8 | -51.5 | 0.10096 | -0.12692 | -15.8 | 1.3872 | -15.6896 | 0.100960052345262-0.126924181105871i | 59.0561560457073-15.3962716971184i | 59.0562 | -15.3963 | 268.4997 | pF | 61.0301 | 0.26071 | 63.0701 | -241.9206 | 17.0878 | pF
39 | -15.9 | -51 | 0.1009 | -0.1246 | -15.9 | 1.3819 | -15.7867 | 0.100895501621791-0.124595568059927i | 59.1261514187572-15.1224188631456i | 59.1262 | -15.1224 | 269.8574 | pF | 61.0294 | 0.25577 | 62.9939 | -246.2959 | 16.5691 | pF
39.5 | -16 | -50.5 | 0.10081 | -0.12229 | -16 | 1.3767 | -15.8823 | 0.100811604119101-0.122294254934684i | 59.1916380184205-14.8506253836589i | 59.1916 | -14.8506 | 271.3178 | pF | 61.0262 | 0.25089 | 62.9175 | -250.7767 | 16.067 | pF
40 | -16.1 | -50 | 0.10071 | -0.12002 | -16.1 | 1.3716 | -15.9763 | 0.100708817532864-0.120020095100706i | 59.2527035689796-14.5809501171634i | 59.2527 | -14.581 | 272.8816 | pF | 61.0204 | 0.24608 | 62.8408 | -255.3666 | 15.581 | pF
40.5 | -16.2 | -49.5 | 0.10059 | -0.11777 | -16.2 | 1.3665 | -16.0688 | 0.100587593037406-0.117772939664152i | 59.3094361080802-14.3134490071748i | 59.3094 | -14.3134 | 274.5496 | pF | 61.0122 | 0.24134 | 62.7638 | -260.069 | 15.1104 | pF
41 | -16.3 | -49 | 0.10045 | -0.11555 | -16.3 | 1.3616 | -16.1595 | 0.100448375341065-0.115552637549039i | 59.3619238911228-14.0481751204083i | 59.3619 | -14.0482 | 276.3226 | pF | 61.0016 | 0.23665 | 62.6865 | -264.8877 | 14.6546 | pF
41.5 | -16.4 | -48.5 | 0.10029 | -0.11336 | -16.4 | 1.3567 | -16.2485 | 0.100291602741627-0.113359035578084i | 59.4102552989959-13.785178687717i | 59.4103 | -13.7852 | 278.2016 | pF | 60.9886 | 0.23203 | 62.6089 | -269.8267 | 14.213 | pF
42 | -16.5 | -48 | 0.10012 | -0.11119 | -16.5 | 1.3519 | -16.3357 | 0.100117707181821-0.111191978552135i | 59.4545187491761-13.5245071475717i | 59.4545 | -13.5245 | 280.1879 | pF | 60.9734 | 0.22748 | 62.531 | -274.89 | 13.7852 | pF
42.5 | -16.6 | -47.5 | 0.099927 | -0.10905 | -16.6 | 1.3472 | -16.421 | 9.99271143048624E-002-0.109051309328217i | 59.4948026102292-13.266205191881i | 59.4948 | -13.2662 | 282.2828 | pF | 60.9559 | 0.22298 | 62.4529 | -280.0819 | 13.3705 | pF
43 | -16.7 | -47 | 0.09972 | -0.10694 | -16.7 | 1.3425 | -16.5044 | 9.972024351003E-002-0.106936868896198i | 59.5311951197259-13.0103148139514i | 59.5312 | -13.0103 | 284.4879 | pF | 60.9363 | 0.21855 | 62.3745 | -285.4067 | 12.9684 | pF
43.5 | -16.8 | -46.5 | 0.099498 | -0.10485 | -16.8 | 1.3379 | -16.5858 | 9.9497508008269E-002-0.104848496454097i | 59.563784305581-12.7568753583934i | 59.5638 | -12.7569 | 286.8049 | pF | 60.9145 | 0.21417 | 62.2959 | -290.8692 | 12.5786 | pF
44 | -16.9 | -46 | 0.099259 | -0.10279 | -16.9 | 1.3334 | -16.6652 | 9.92593148778029E-002-0.102786029482048i | 59.5926579108119-12.5059235727856i | 59.5927 | -12.5059 | 289.2356 | pF | 60.8907 | 0.20986 | 62.2171 | -296.4741 | 12.2006 | pF
44.5 | -17 | -45.5 | 0.099006 | -0.10075 | -17 | 1.329 | -16.7424 | 9.90060651197452E-002-0.100749303814932i | 59.6179033217062-12.2574936609115i | 59.6179 | -12.2575 | 291.782 | pF | 60.8649 | 0.2056 | 62.1381 | -302.2266 | 11.8339 | pF
45 | -17.1 | -45 | 0.098738 | -0.098738 | -17.1 | 1.3246 | -16.8175 | 9.87381537136998E-002-9.87381537136998E-002i | 59.6396074993733-12.0116173373924i | 59.6396 | -12.0116 | 294.4463 | pF | 60.8372 | 0.2014 | 62.0588 | -308.1318 | 11.4781 | pF
45.5 | -17.2 | -44.5 | 0.098456 | -0.096752 | -17.2 | 1.3203 | -16.8904 | 9.84559696733372E-002-9.67524119353898E-002i | 59.6578569146637-11.7683238835438i | 59.6579 | -11.7683 | 297.231 | pF | 60.8075 | 0.19726 | 61.9793 | -314.1954 | 11.1329 | pF
46 | -17.3 | -44 | 0.09816 | -0.094792 | -17.3 | 1.316 | -16.961 | 9.81598961019367E-002-9.4791909801869E-002i | 59.6727374864076-11.5276402042891i | 59.6727 | -11.5276 | 300.1386 | pF | 60.776 | 0.19318 | 61.8997 | -320.4231 | 10.7979 | pF
46.5 | -17.4 | -43.5 | 0.09785 | -0.092856 | -17.4 | 1.3119 | -17.0294 | 9.78503102478843E-002-9.28564772673001E-002i | 59.6843345229419-11.2895908859726i | 59.6843 | -11.2896 | 303.1719 | pF | 60.7427 | 0.18916 | 61.8198 | -326.8209 | 10.4727 | pF
47 | -17.5 | -43 | 0.097528 | -0.090946 | -17.5 | 1.3077 | -17.0953 | 9.75275835601145E-002-9.09459429843581E-002i | 59.6927326668764-11.0541982549166i | 59.6927 | -11.0542 | 306.3339 | pF | 60.7076 | 0.18518 | 61.7398 | -333.3953 | 10.1569 | pF
47.5 | -17.6 | -42.5 | 0.097192 | -0.08906 | -17.6 | 1.3037 | -17.1589 | 9.71920817434867E-002-8.90601343692066E-002i | 59.6980158430395-10.8214824365781i | 59.698 | -10.8215 | 309.6277 | pF | 60.6709 | 0.18127 | 61.6596 | -340.1528 | 9.8504 | pF
48 | -17.7 | -42 | 0.096844 | -0.087199 | -17.7 | 1.2997 | -17.2201 | 9.68441648140872E-002-8.71988776652507E-002i | 59.7002672095546-10.5914614151634i | 59.7003 | -10.5915 | 313.0567 | pF | 60.6325 | 0.17741 | 61.5793 | -347.1004 | 9.5526 | pF
48.5 | -17.8 | -41.5 | 0.096484 | -0.085362 | -17.8 | 1.2957 | -17.2788 | 9.64841871544439E-002-8.53619980056806E-002i | 59.6995691119823-10.36415109357i | 59.6996 | -10.3642 | 316.6246 | pF | 60.5925 | 0.17361 | 61.4988 | -354.2455 | 9.2635 | pF
49 | -17.9 | -41 | 0.096112 | -0.083549 | -17.9 | 1.2919 | -17.335 | 9.61124975686492E-002-8.3549319474821E-002i | 59.6960030404591-10.1395653535262i | 59.696 | -10.1396 | 320.3352 | pF | 60.551 | 0.16985 | 61.4182 | -361.5957 | 8.9826 | pF
49.5 | -18 | -40.5 | 0.095729 | -0.081761 | -18 | 1.288 | -17.3888 | 9.5729439337376E-002-8.17606651682994E-002i | 59.6896495897624-9.91771611581044i | 59.6896 | -9.9177 | 324.1927 | pF | 60.508 | 0.16615 | 61.3375 | -369.1591 | 8.7097 | pF
50 | -18.1 | -40 | 0.095335 | -0.079996 | -18.1 | 1.2843 | -17.4399 | 9.53353502727841E-002-7.999585725205E-002i | 59.6805884222344-9.69861340043688i | 59.6806 | -9.6986 | 328.2014 | pF | 60.4635 | 0.16251 | 61.2567 | -376.9442 | 8.4445 | pF
50.5 | -18.2 | -39.5 | 0.094931 | -0.078255 | -18.2 | 1.2806 | -17.4886 | 9.49305627733026E-002-7.82547170201652E-002i | 59.6688982334865-9.48226538670003i | 59.6689 | -9.4823 | 332.366 | pF | 60.4176 | 0.15891 | 61.1758 | -384.9598 | 8.1868 | pF
51 | -18.3 | -39 | 0.094515 | -0.076537 | -18.3 | 1.2769 | -17.5347 | 9.4515403878283E-002-7.6537064951611E-002i | 59.6546567207987-9.26867847297783i | 59.6547 | -9.2687 | 336.6915 | pF | 60.3704 | 0.15537 | 61.0948 | -393.2153 | 7.9363 | pF
51.5 | -18.4 | -38.5 | 0.09409 | -0.074843 | -18.4 | 1.2733 | -17.5782 | 9.40901953225143E-002-7.48427207658192E-002i | 59.6379405541479-9.05785733620011i | 59.6379 | -9.0579 | 341.183 | pF | 60.3219 | 0.15188 | 61.0137 | -401.7207 | 7.6929 | pF
52 | -18.5 | -38 | 0.093655 | -0.073172 | -18.5 | 1.2698 | -17.6191 | 9.36552535905912E-002-7.31715034771706E-002i | 59.6188253497721-8.84980499089363i | 59.6188 | -8.8498 | 345.8463 | pF | 60.2721 | 0.14844 | 60.9325 | -410.4863 | 7.4562 | pF
52.5 | -18.6 | -37.5 | 0.093211 | -0.071523 | -18.6 | 1.2663 | -17.6575 | 9.3210889971128E-002-7.1523231448384E-002i | 59.5973856461921-8.64452284772235i | 59.5974 | -8.6445 | 350.6871 | pF | 60.2211 | 0.14505 | 60.8513 | -419.523 | 7.2261 | pF
53 | -18.7 | -37 | 0.092757 | -0.069898 | -18.7 | 1.2628 | -17.6933 | 9.27574106108103E-002-6.9897722442824E-002i | 59.5736948826077-8.44201077144721i | 59.5737 | -8.442 | 355.7119 | pF | 60.1689 | 0.14171 | 60.77 | -428.8425 | 7.0024 | pF
53.5 | -18.8 | -36.5 | 0.092295 | -0.068295 | -18.8 | 1.2594 | -17.7266 | 9.22951165682773E-002-6.8294793675742E-002i | 59.547825379584-8.2422671382352i | 59.5478 | -8.2423 | 360.9272 | pF | 60.1155 | 0.13841 | 60.6887 | -438.4568 | 6.7848 | pF
54 | -18.9 | -36 | 0.091824 | -0.066714 | -18.9 | 1.2561 | -17.7573 | 9.18243038678274E-002-6.67142618644637E-002i | 59.5198483219392-8.04528889225289i | 59.5198 | -8.0453 | 366.3403 | pF | 60.0611 | 0.13517 | 60.6073 | -448.3791 | 6.5733 | pF
54.5 | -19 | -35.5 | 0.091345 | -0.065156 | -19 | 1.2528 | -17.7856 | 9.13452635529399E-002-6.5155943277537E-002i | 59.4898337437568-7.8510716014859i | 59.4898 | -7.8511 | 371.9587 | pF | 60.0057 | 0.13197 | 60.526 | -458.6227 | 6.3675 | pF
55 | -19.1 | -35 | 0.090858 | -0.06362 | -19.1 | 1.2495 | -17.8113 | 9.08582817396061E-002-6.36196537828538E-002i | 59.4578505154312-7.65960951273009i | 59.4579 | -7.6596 | 377.7903 | pF | 59.9492 | 0.12882 | 60.4446 | -469.2022 | 6.1673 | pF
55.5 | -19.2 | -34.5 | 0.090364 | -0.062105 | -19.2 | 1.2463 | -17.8345 | 9.03636396694626E-002-6.2105208894759E-002i | 59.423966332665-7.47089560570537i | 59.424 | -7.4709 | 383.8438 | pF | 59.8918 | 0.12572 | 60.3632 | -480.1328 | 5.9726 | pF
56 | -19.3 | -34 | 0.089862 | -0.060612 | -19.3 | 1.2431 | -17.8554 | 8.98616137627215E-002-6.06124238201603E-002i | 59.3882477073386-7.28492164624877i | 59.3882 | -7.2849 | 390.1281 | pF | 59.8334 | 0.12267 | 60.2819 | -491.4307 | 5.7832 | pF
56.5 | -19.4 | -33.5 | 0.089352 | -0.059141 | -19.4 | 1.24 | -17.8738 | 8.93524756708902E-002-5.91411135036516E-002i | 59.3507599601613-7.1016782385467i | 59.3508 | -7.1017 | 396.653 | pF | 59.7741 | 0.11966 | 60.2005 | -503.113 | 5.5989 | pF
57 | -19.5 | -33 | 0.088836 | -0.057691 | -19.5 | 1.2369 | -17.8899 | 8.88364923292743E-002-5.76910926716631E-002i | 59.3115672150311-6.92115487637159i | 59.3116 | -6.9212 | 403.4286 | pF | 59.714 | 0.11669 | 60.1192 | -515.1979 | 5.4196 | pF
57.5 | -19.6 | -32.5 | 0.088314 | -0.056262 | -19.6 | 1.2339 | -17.9036 | 8.83139260092596E-002-5.62621758756526E-002i | 59.2707323950194-6.74333999329291i | 59.2707 | -6.7433 | 410.466 | pF | 59.6531 | 0.11377 | 60.0379 | -527.7047 | 5.2452 | pF
58 | -19.7 | -32 | 0.087785 | -0.054854 | -19.7 | 1.2309 | -17.9151 | 8.77850343703655E-002-5.48541775343483E-002i | 59.2283172198981-6.56822101183445i | 59.2283 | -6.5682 | 417.7769 | pF | 59.5914 | 0.1109 | 59.9567 | -540.654 | 5.0754 | pF
58.5 | -19.8 | -31.5 | 0.08725 | -0.053467 | -19.8 | 1.228 | -17.9244 | 8.72500705120653E-002-5.34669119750582E-002i | 59.1843822051402-6.39578439155662i | 59.1844 | -6.3958 | 425.3735 | pF | 59.529 | 0.10807 | 59.8755 | -554.0676 | 4.9102 | pF
59 | -19.9 | -31 | 0.086709 | -0.0521 | -19.9 | 1.2251 | -17.9315 | 8.67092830253673E-002-5.21001934740582E-002i | 59.1389866623097-6.22601567604341i | 59.139 | -6.226 | 433.2693 | pF | 59.4658 | 0.10528 | 59.7944 | -567.9689 | 4.7495 | pF
59.5 | -20 | -30.5 | 0.086163 | -0.050754 | -20 | 1.2222 | -17.9364 | 8.61629160441526E-002-5.07538362960704E-002i | 59.0921887007718-6.05889953877875i | 59.0922 | -6.0589 | 441.4784 | pF | 59.402 | 0.10253 | 59.7134 | -582.3825 | 4.593 | pF
60 | -20.1 | -30 | 0.085611 | -0.049428 | -20.1 | 1.2194 | -17.9393 | 8.56112092962631E-002-4.94276547328469E-002i | 59.0440452306482-5.8944198278998i | 59.044 | -5.8944 | 450.0159 | pF | 59.3375 | 0.099831 | 59.6325 | -597.335 | 4.4407 | pF
60.5 | -20.2 | -29.5 | 0.085054 | -0.048121 | -20.2 | 1.2166 | -17.9402 | 8.50543981543368E-002-4.81214631408679E-002i | 58.9946119669477-5.73255960981756i | 58.9946 | -5.7326 | 458.898 | pF | 59.2725 | 0.097171 | 59.5516 | -612.8548 | 4.2925 | pF
61 | -20.3 | -29 | 0.084493 | -0.046835 | -20.3 | 1.2139 | -17.9391 | 8.44927136863826E-002-4.68350759781691E-002i | 58.9439434348031-5.57330121169835i | 58.9439 | -5.5733 | 468.1422 | pF | 59.2068 | 0.094553 | 59.4709 | -628.972 | 4.1482 | pF
61.5 | -20.4 | -28.5 | 0.083926 | -0.045568 | -20.4 | 1.2112 | -17.9362 | 8.39263827060942E-002-4.55683078403106E-002i | 58.8920929757509-5.41662626280259i | 58.8921 | -5.4166 | 477.767 | pF | 59.1407 | 0.091975 | 59.3903 | -645.719 | 4.0078 | pF
62 | -20.5 | -28 | 0.083356 | -0.044321 | -20.5 | 1.2085 | -17.9314 | 8.33556278228945E-002-4.4320973495497E-002i | 58.8391127549818-5.26251573467899i | 58.8391 | -5.2625 | 487.7924 | pF | 59.074 | 0.089439 | 59.3098 | -663.1306 | 3.8711 | pF
62.5 | -20.6 | -27.5 | 0.082781 | -0.043093 | -20.6 | 1.2059 | -17.9248 | 8.27806674917098E-002-4.30928879188642E-002i | 58.7850537695048-5.1109499802159i | 58.7851 | -5.1109 | 498.2399 | pF | 59.0068 | 0.086943 | 59.2294 | -681.2441 | 3.738 | pF
63 | -20.7 | -27 | 0.082202 | -0.041884 | -20.7 | 1.2033 | -17.9165 | 8.22017160624668E-002-4.18838663259418E-002i | 58.7299658571632-4.96190877155268i | 58.73 | -4.9619 | 509.1325 | pF | 58.9392 | 0.084487 | 59.1492 | -700.0994 | 3.6084 | pF
63.5 | -20.8 | -26.5 | 0.081619 | -0.040694 | -20.8 | 1.2007 | -17.9066 | 8.16189838293108E-002-4.06937242053048E-002i | 58.6738977064421-4.81537133685648i | 58.6739 | -4.8154 | 520.4951 | pF | 58.8712 | 0.08207 | 59.0691 | -719.7397 | 3.4823 | pF
64 | -20.9 | -26 | 0.081033 | -0.039522 | -20.9 | 1.1982 | -17.8952 | 8.10326770795401E-002-3.95222773504256E-002i | 58.6168968670132-4.67131639597181i | 58.6169 | -4.6713 | 532.3544 | pF | 58.8027 | 0.079692 | 58.9892 | -740.2114 | 3.3596 | pF
64.5 | -21 | -25.5 | 0.080443 | -0.038369 | -21 | 1.1957 | -17.8821 | 8.04429981422526E-002-3.83693418907381E-002i | 58.5590097609572-4.52972219495156i | 58.559 | -4.5297 | 544.7395 | pF | 58.7339 | 0.077353 | 58.9094 | -761.5646 | 3.2401 | pF
65 | -21.1 | -25 | 0.07985 | -0.037235 | -21.1 | 1.1932 | -17.8677 | 7.98501454367027E-002-3.72347343219249E-002i | 58.5002816946181-4.39056653948013i | 58.5003 | -4.3906 | 557.6815 | pF | 58.6648 | 0.075052 | 58.8298 | -783.8533 | 3.1237 | pF
65.5 | -21.2 | -24.5 | 0.079254 | -0.036118 | -21.2 | 1.1908 | -17.8518 | 7.92543135203631E-002-3.61182715354406E-002i | 58.4407568710325-4.25382682720097i | 58.4408 | -4.2538 | 571.2142 | pF | 58.5954 | 0.072789 | 58.7504 | -807.1361 | 3.0105 | pF
66 | -21.3 | -24 | 0.078656 | -0.03502 | -21.3 | 1.1884 | -17.8347 | 7.86556931366901E-002-3.50197708472802E-002i | 58.3804784028902-4.1194800789613i | 58.3805 | -4.1195 | 585.3745 | pF | 58.5256 | 0.070563 | 58.6712 | -831.4764 | 2.9002 | pF
66.5 | -21.4 | -23.5 | 0.078054 | -0.033939 | -21.4 | 1.1861 | -17.8162 | 7.8054471262588E-002-3.39390500260058E-002i | 58.3194883259748-3.98750296898905i | 58.3195 | -3.9875 | 600.202 | pF | 58.4556 | 0.068373 | 58.5921 | -856.943 | 2.7928 | pF
67 | -21.5 | -23 | 0.077451 | -0.032876 | -21.5 | 1.1837 | -17.7966 | 7.74508311555706E-002-3.28759273200419E-002i | 58.257827613044-3.8578718540174i | 58.2578 | -3.8579 | 615.7402 | pF | 58.3854 | 0.066221 | 58.5133 | -883.6109 | 2.6883 | pF
67.5 | -21.6 | -22.5 | 0.076845 | -0.03183 | -21.6 | 1.1814 | -17.7758 | 7.6844952400616E-002-3.18302214842501E-002i | 58.1955361881057-3.73056280137366i | 58.1955 | -3.7306 | 632.0363 | pF | 58.315 | 0.064104 | 58.4347 | -911.5615 | 2.5866 | pF
68 | -21.7 | -22 | 0.076237 | -0.030802 | -21.7 | 1.1792 | -17.7539 | 7.62370109567135E-002-3.08017518057945E-002i | 58.1326529410442-3.60555161604995i | 58.1327 | -3.6056 | 649.1417 | pF | 58.2444 | 0.062023 | 58.3563 | -940.8839 | 2.4876 | pF
68.5 | -21.8 | -21.5 | 0.075627 | -0.02979 | -21.8 | 1.1769 | -17.731 | 7.56271792030975E-002-2.97903381293086E-002i | 58.0692157425689-3.48281386677387i | 58.0692 | -3.4828 | 667.1128 | pF | 58.1736 | 0.059977 | 58.2781 | -971.6752 | 2.3912 | pF
69 | -21.9 | -21 | 0.075016 | -0.028796 | -21.9 | 1.1747 | -17.7071 | 7.50156259851691E-002-2.87958008813746E-002i | 58.0052614594328-3.36232491109819i | 58.0053 | -3.3623 | 686.0114 | pF | 58.1026 | 0.057966 | 58.2002 | -1004.042 | 2.2973 | pF
69.5 | -22 | -20.5 | 0.074403 | -0.027818 | -22 | 1.1726 | -17.6823 | 7.44025166601007E-002-2.78179610943246E-002i | 57.9408259699015-3.24405991952911i | 57.9408 | -3.2441 | 705.9053 | pF | 58.0316 | 0.055989 | 58.1225 | -1038.1014 | 2.2059 | pF
70 | -22.1 | -20 | 0.073788 | -0.026857 | -22.1 | 1.1704 | -17.6567 | 7.37880131421224E-002-2.68566404293759E-002i | 57.8759441794273-3.12799389871302i | 57.8759 | -3.128 | 726.8691 | pF | 57.9604 | 0.054047 | 58.045 | -1073.982 | 2.117 | pF
70.5 | -22.2 | -19.5 | 0.073172 | -0.025912 | -22.2 | 1.1683 | -17.6302 | 7.31722739474874E-002-2.59116611991094E-002i | 57.8106500365027-3.01410171370222i | 57.8107 | -3.0141 | 748.985 | pF | 57.8892 | 0.052137 | 57.9678 | -1111.8258 | 2.0305 | pF
71 | -22.3 | -19 | 0.072555 | -0.024983 | -22.3 | 1.1662 | -17.603 | 7.25554542391157E-002-2.49828463893022E-002i | 57.7449765486592-2.90235810932045i | 57.745 | -2.9024 | 772.344 | pF | 57.8179 | 0.050262 | 57.8909 | -1151.7896 | 1.9462 | pF
71.5 | -22.4 | -18.5 | 0.071938 | -0.02407 | -22.4 | 1.1642 | -17.575 | 7.1937705870913E-002-2.40700196801243E-002i | 57.6789557985875-2.79273773064929i | 57.679 | -2.7927 | 797.047 | pF | 57.7465 | 0.048419 | 57.8142 | -1194.0474 | 1.8642 | pF
72 | -22.5 | -18 | 0.071319 | -0.023173 | -22.5 | 1.1621 | -17.5464 | 7.13191774317634E-002-2.31730054667093E-002i | 57.6126189603497-2.68521514265667i | 57.6126 | -2.6852 | 823.206 | pF | 57.6752 | 0.046608 | 57.7378 | -1238.7924 | 1.7844 | pF
72.5 | -22.6 | -17.5 | 0.0707 | -0.022292 | -22.6 | 1.1601 | -17.5172 | 7.07000142891943E-002-2.22916288791098E-002i | 57.545996315653-2.57976484898892i | 57.546 | -2.5798 | 850.946 | pF | 57.6038 | 0.04483 | 57.6616 | -1286.2401 | 1.7067 | pF
73 | -22.7 | -17 | 0.07008 | -0.021426 | -22.7 | 1.1582 | -17.4874 | 7.00803586327125E-002-2.14257158016465E-002i | 57.4791172701718-2.47636130994785i | 57.4791 | -2.4764 | 880.4065 | pF | 57.5324 | 0.043083 | 57.5858 | -1336.631 | 1.6311 | pF
73.5 | -22.8 | -16.5 | 0.06946 | -0.020575 | -22.8 | 1.1562 | -17.4571 | 6.94603495168086E-002-2.05750928916615E-002i | 57.4120103698843-2.37497895967454i | 57.412 | -2.375 | 911.7442 | pF | 57.4611 | 0.041367 | 57.5103 | -1390.2352 | 1.5576 | pF
74 | -22.9 | -16 | 0.06884 | -0.01974 | -22.9 | 1.1543 | -17.4264 | 6.88401229036305E-002-1.97395875976853E-002i | 57.3447033174104-2.27559222256122i | 57.3447 | -2.2756 | 945.1353 | pF | 57.3898 | 0.039683 | 57.435 | -1447.3566 | 1.486 | pF
74.5 | -23 | -15.5 | 0.06822 | -0.018919 | -23 | 1.1524 | -17.3951 | 6.82198117053221E-002-1.89190281770265E-002i | 57.2772229883274-2.1781755289129i | 57.2772 | -2.1782 | 980.7786 | pF | 57.3186 | 0.038029 | 57.3601 | -1508.3379 | 1.4163 | pF
75 | -23.1 | -15 | 0.0676 | -0.018113 | -23.1 | 1.1505 | -17.3635 | 6.75995458260286E-002-1.8113243712795E-002i | 57.209595447444-2.08270332987995i | 57.2096 | -2.0827 | 0.0010189 | uF | 57.2475 | 0.036405 | 57.2854 | -1573.5681 | 1.3486 | uF
75.5 | -23.2 | -14.5 | 0.066979 | -0.017322 | -23.2 | 1.1487 | -17.3315 | 6.69794522035664E-002-1.73220641303671E-002i | 57.1418459650164-1.98915011168312i | 57.1418 | -1.9892 | 0.0010598 | uF | 57.1765 | 0.034811 | 57.2111 | -1643.4895 | 1.2826 | uF
76 | -23.3 | -14 | 0.06636 | -0.016545 | -23.3 | 1.1468 | -17.2992 | 6.63596548507547E-002-1.65453202133015E-002i | 57.0739990328914-1.89749040915186i | 57.074 | -1.8975 | 0.0011036 | uF | 57.1055 | 0.033246 | 57.1371 | -1718.6078 | 1.2185 | uF
76.5 | -23.4 | -13.5 | 0.06574 | -0.015783 | -23.4 | 1.145 | -17.2666 | 6.57402748964126E-002-1.57828436187164E-002i | 57.0060783805614-1.807698818597i | 57.0061 | -1.8077 | 0.0011509 | uF | 57.0347 | 0.031711 | 57.0634 | -1799.5037 | 1.1561 | uF
77 | -23.5 | -13 | 0.065121 | -0.015034 | -23.5 | 1.1432 | -17.2337 | 6.51214306260149E-002-1.50344668921369E-002i | 56.93810699111-1.71975001003844i | 56.9381 | -1.7198 | 0.0012019 | uF | 56.9641 | 0.030204 | 56.9901 | -1886.8472 | 1.0955 | uF
77.5 | -23.6 | -12.5 | 0.064503 | -0.0143 | -23.6 | 1.1415 | -17.2006 | 6.45032375220117E-002-1.43000234818198E-002i | 56.8701071170484-1.63361873880814i | 56.8701 | -1.6336 | 0.0012571 | uF | 56.8936 | 0.028725 | 56.917 | -1981.4157 | 1.0364 | uF
78 | -23.7 | -12 | 0.063886 | -0.013579 | -23.7 | 1.1398 | -17.1673 | 6.3885808303807E-002-1.35793477525674E-002i | 56.8021002960174-1.54927985654862i | 56.8021 | -1.5493 | 0.001317 | uF | 56.8232 | 0.027275 | 56.8444 | -2084.116 | 0.97905 | uF
78.5 | -23.8 | -11.5 | 0.063269 | -0.012872 | -23.8 | 1.138 | -17.1338 | 6.32692529673974E-002-1.28722749990367E-002i | 56.7341073663518-1.46670832162678i | 56.7341 | -1.4667 | 0.0013823 | uF | 56.7531 | 0.025852 | 56.772 | -2196.0127 | 0.92324 | uF
79 | -23.9 | -11 | 0.062654 | -0.012179 | -23.9 | 1.1364 | -17.1001 | 6.26536788246716E-002-1.2178641458555E-002i | 56.6661484824959-1.3858792089827i | 56.6661 | -1.3859 | 0.0014537 | uF | 56.6831 | 0.024457 | 56.7 | -2318.3644 | 0.86898 | uF
79.5 | -24 | -10.5 | 0.062039 | -0.011498 | -24 | 1.1347 | -17.0664 | 6.20391905423671E-002-1.14982843234478E-002i | 56.598243130257-1.30676771943218i | 56.5982 | -1.3068 | 0.001532 | uF | 56.6133 | 0.023088 | 56.6284 | -2452.6691 | 0.81623 | uF
80 | -24.1 | -10 | 0.061426 | -0.010831 | -24.1 | 1.133 | -17.0326 | 6.1425890180688E-002-1.08310417528905E-002i | 56.5304101418906-1.22934918844234i | 56.5304 | -1.2293 | 0.0016183 | uF | 56.5438 | 0.021747 | 56.5571 | -2600.7245 | 0.76495 | uF
80.5 | -24.2 | -9.5 | 0.060814 | -0.010177 | -24.2 | 1.1314 | -16.9987 | 6.08138772315809E-002-1.01767528842899E-002i | 56.4626677110129-1.15359909439846i | 56.4627 | -1.1536 | 0.0017138 | uF | 56.4745 | 0.020431 | 56.4862 | -2764.7071 | 0.71511 | uF
81 | -24.3 | -9 | 0.060203 | -0.0095353 | -24.3 | 1.1298 | -16.9647 | 6.02032486566658E-002-9.53525784420491E-003i | 56.3950334073268-1.07949306638008i | 56.395 | -1.0795 | 0.0018202 | uF | 56.4054 | 0.019142 | 56.4157 | -2947.277 | 0.66667 | uF
81.5 | -24.4 | -8.5 | 0.059594 | -0.0089064 | -24.4 | 1.1282 | -16.9307 | 5.95940989248337E-002-8.90639775881538E-003i | 56.3275241911592-1.00700689146445i | 56.3275 | -1.007 | 0.0019392 | uF | 56.3365 | 0.017878 | 56.3455 | -3151.7203 | 0.6196 | uF
82 | -24.5 | -8 | 0.058987 | -0.00829 | -24.5 | 1.1267 | -16.8967 | 5.89865200494944E-002-8.29001476394529E-003i | 56.2601564278063-0.936116521574147i | 56.2602 | -0.93612 | 0.0020734 | uF | 56.2679 | 0.016639 | 56.2757 | -3382.1447 | 0.57387 | uF
82.5 | -24.6 | -7.5 | 0.058381 | -0.007686 | -24.6 | 1.1251 | -16.8628 | 5.83806016254877E-002-7.68595201465023E-003i | 56.1929459016743-0.866798079886191i | 56.1929 | -0.8668 | 0.0022256 | uF | 56.1996 | 0.015425 | 56.2063 | -3643.7535 | 0.52944 | uF
83 | -24.7 | -7 | 0.057776 | -0.0070941 | -24.7 | 1.1236 | -16.8288 | 5.77764308656515E-002-7.09405369437605E-003i | 56.1259078302164-0.799027866818954i | 56.1259 | -0.79903 | 0.0023998 | uF | 56.1316 | 0.014236 | 56.1373 | -3943.2367 | 0.48628 | uF
83.5 | -24.8 | -6.5 | 0.057174 | -0.0065142 | -24.8 | 1.1221 | -16.7949 | 5.71740926370505E-002-6.51416502369697E-003i | 56.0590568776658-0.732782365613142i | 56.0591 | -0.73278 | 0.0026011 | uF | 56.0638 | 0.013072 | 56.0686 | -4289.3429 | 0.44437 | uF
84 | -24.9 | -6 | 0.056574 | -0.0059461 | -24.9 | 1.1206 | -16.7611 | 5.65736694968621E-002-5.94613226864082E-003i | 55.99240716855-0.668038247522428i | 55.9924 | -0.66804 | 0.0028362 | uF | 55.9964 | 0.011931 | 56.0004 | -4693.7371 | 0.40367 | uF
84.5 | -25 | -5.5 | 0.055975 | -0.0053898 | -25 | 1.1192 | -16.7274 | 5.59752417279241E-002-5.38980274860896E-003i | 55.9259723009956-0.604772376629171i | 55.926 | -0.60477 | 0.0031144 | uF | 55.9292 | 0.010814 | 55.9325 | -5172.3264 | 0.36415 | uF
85 | -25.1 | -5 | 0.055379 | -0.004845 | -25.1 | 1.1177 | -16.6938 | 5.53788873739412E-002-4.84502484389878E-003i | 55.8597653598133-0.542961814300065i | 55.8598 | -0.54296 | 0.0034485 | uF | 55.8624 | 0.0097201 | 55.865 | -5747.3806 | 0.32579 | uF
85.5 | -25.2 | -4.5 | 0.054785 | -0.0043116 | -25.2 | 1.1163 | -16.6602 | 5.47846822743523E-002-4.31164800283594E-003i | 55.7937989293639-0.482583823296246i | 55.7938 | -0.48258 | 0.0038573 | uF | 55.7959 | 0.0086494 | 55.798 | -6451.0676 | 0.28855 | uF
86 | -25.3 | -4 | 0.054193 | -0.0037895 | -25.3 | 1.1149 | -16.6268 | 5.4192700098859E-002-3.78952274852397E-003i | 55.7280851062054-0.423615871551976i | 55.7281 | -0.42362 | 0.0043687 | uF | 55.7297 | 0.0076015 | 55.7313 | -7331.6396 | 0.25242 | uF
86.5 | -25.4 | -3.5 | 0.053603 | -0.0032785 | -25.4 | 1.1135 | -16.5936 | 5.36030123816161E-002-3.2785006852185E-003i | 55.6626355115159-0.366035635635584i | 55.6626 | -0.36604 | 0.0050267 | uF | 55.6638 | 0.006576 | 55.665 | -8464.9216 | 0.21736 | uF
87 | -25.5 | -3 | 0.053016 | -0.0027784 | -25.5 | 1.1121 | -16.5604 | 5.30156885550838E-002-2.77843450433329E-003i | 55.5974613032954-0.309821003905979i | 55.5975 | -0.30982 | 0.0059046 | uF | 55.5983 | 0.0055726 | 55.5992 | -9977.289 | 0.18335 | uF
87.5 | -25.6 | -2.5 | 0.052431 | -0.0022892 | -25.6 | 1.1108 | -16.5275 | 5.24307959835433E-002-2.28917799008533E-003i | 55.5325731883461-0.25495007937767i | 55.5326 | -0.25495 | 0.0071344 | uF | 55.5332 | 0.004591 | 55.5337 | -12096.2178 | 0.15037 | uF
88 | -25.7 | -2 | 0.051848 | -0.0018106 | -25.7 | 1.1094 | -16.4947 | 5.18483999962759E-002-1.81058602478589E-003i | 55.4679814340253-0.201401182306789i | 55.468 | -0.2014 | 0.00898 | uF | 55.4683 | 0.0036309 | 55.4687 | -15276.6607 | 0.11839 | uF
88.5 | -25.8 | -1.5 | 0.051269 | -0.0013425 | -25.8 | 1.1081 | -16.4621 | 5.12685639204076E-002-1.34251459378464E-003i | 55.4036958797786-0.149152852510275i | 55.4037 | -0.14915 | 0.012057 | uF | 55.4039 | 0.0026921 | 55.4041 | -20580.1747 | 0.087383 | pF
89 | -25.9 | -1 | 0.050691 | -0.00088482 | -25.9 | 1.1068 | -16.4296 | 5.06913491134175E-002-8.84820790073647E-004i | 55.3397259484519-9.81838514299882E-002i | 55.3397 | -0.098184 | 0.018213 | uF | 55.3398 | 0.0017742 | 55.3399 | -31191.4318 | 0.057332 | pF
89.5 | -26 | -0.5 | 0.050117 | -0.00043736 | -26 | 1.1055 | -16.3974 | 5.01168149953145E-002-4.37362818558027E-004i | 55.2760806573778-4.84731639531294E-002i | 55.2761 | -0.048473 | 0.036686 | uF | 55.2761 | 0.00087693 | 55.2761 | -63033.7942 | 0.028211 | pF
90 | -26.1 | 0 | 0.049545 | 0 | -26.1 | 1.1043 | -16.3654 | 4.95450190804796E-002 | 55.2127686292461 | 55.2128 | 0 | 0 | #DIV/0! | 55.2128 | 0 | 55.2128 | #DIV/0! | #DIV/0! | #DIV/0!
90.5 | -26.2 | 0.5 | 0.048976 | 0.00042741 | -26.2 | 1.103 | -16.3335 | 4.89760170091776E-002+4.27407225357047E-004i | 55.1497981027489+4.7256204110242E-002i | 55.1498 | 0.047256 | 8.3106e-05 | uH | 55.1498 | 0.00085687 | 55.1498 | 64361.9715 | 113.1881 | uH
91 | -26.3 | 1 | 0.04841 | 0.000845 | -26.3 | 1.1018 | -16.3019 | 4.8409862578738E-002+8.44997294477963E-004i | 55.0871769430135+9.33157845055123E-002i | 55.0872 | 0.093316 | 0.00016321 | uH | 55.0873 | 0.001694 | 55.0873 | 32519.7477 | 56.8756 | uH
91.5 | -26.4 | 1.5 | 0.047847 | 0.0012529 | -26.4 | 1.1005 | -16.2706 | 4.78466077744058E-002+1.25290751853224E-003i | 55.0249126518162+0.138198848808465i | 55.0249 | 0.1382 | 0.00024038 | uH | 55.0251 | 0.0025116 | 55.0253 | 21908.7217 | 38.108 | uH
92 | -26.5 | 2 | 0.047286 | 0.0016513 | -26.5 | 1.0993 | -16.2394 | 4.72863027998646E-002+1.65127408019106E-003i | 54.9630123775802+0.181925275376262i | 54.963 | 0.18193 | 0.00031472 | uH | 54.9633 | 0.00331 | 54.9636 | 16605.5311 | 28.7267 | uH
92.5 | -26.6 | 2.5 | 0.046729 | 0.0020402 | -26.6 | 1.0981 | -16.2085 | 4.67289961074319E-002+2.04023203121867E-003i | 54.9014829251654+0.224514712723163i | 54.9015 | 0.22451 | 0.0003863 | uH | 54.9019 | 0.0040894 | 54.9024 | 13425.5043 | 23.0998 | uH
93 | -26.7 | 3 | 0.046175 | 0.0024199 | -26.7 | 1.097 | -16.1778 | 4.61747344279293E-002+2.41991529035196E-003i | 54.8403307654407+0.265986579116966i | 54.8403 | 0.26599 | 0.00045519 | uH | 54.841 | 0.0048502 | 54.8416 | 11307.0841 | 19.3503 | uH
93.5 | -26.8 | 3.5 | 0.045624 | 0.0027905 | -26.8 | 1.0958 | -16.1473 | 4.56235628002265E-002+2.79045664146202E-003i | 54.779562044654+0.306360062340667i | 54.7796 | 0.30636 | 0.00052148 | uH | 54.7804 | 0.0055926 | 54.7813 | 9795.3181 | 16.6735 | uH
94 | -26.9 | 4 | 0.045076 | 0.003152 | -26.9 | 1.0946 | -16.1171 | 4.50755246004631E-002+3.15198773199166E-003i | 54.7191825935932+0.345654119610976i | 54.7192 | 0.34565 | 0.00058524 | uH | 54.7203 | 0.0063169 | 54.7214 | 8662.7303 | 14.6672 | uH
94.5 | -27 | 4.5 | 0.044531 | 0.0035046 | -27 | 1.0935 | -16.0872 | 4.45306615709479E-002+3.50463907166305E-003i | 54.659197936546+0.383887477645701i | 54.6592 | 0.38389 | 0.00064654 | uH | 54.6605 | 0.0070233 | 54.6619 | 7782.9454 | 13.1079 | uH
95 | -27.1 | 5 | 0.043989 | 0.0038485 | -27.1 | 1.0924 | -16.0575 | 4.39890138487375E-002+3.84854003144941E-003i | 54.5996133000538+0.421078632872209i | 54.5996 | 0.42108 | 0.00070544 | uH | 54.6012 | 0.0077121 | 54.6029 | 7080.1386 | 11.8615 | uH
95.5 | -27.2 | 5.5 | 0.043451 | 0.0041838 | -27.2 | 1.0913 | -16.0281 | 4.34506199938951E-002+4.1838188428051E-003i | 54.5404336214735+0.45724585176956i | 54.5404 | 0.45725 | 0.00076202 | uH | 54.5424 | 0.0083836 | 54.5443 | 6506.0579 | 10.8426 | uH
96 | -27.3 | 6 | 0.042916 | 0.0045106 | -27.3 | 1.0902 | -15.9989 | 4.29155170174321E-002+4.51060259714833E-003i | 54.4816635573386+0.492407171337133i | 54.4817 | 0.49241 | 0.00081634 | uH | 54.4839 | 0.009038 | 54.4861 | 6028.5355 | 9.9945 | uH
96.5 | -27.4 | 6.5 | 0.042384 | 0.004829 | -27.4 | 1.0891 | -15.97 | 4.23837404089329E-002+4.8290172455908E-003i | 54.4233074915319+0.526580399682828i | 54.4233 | 0.52658 | 0.00086848 | uH | 54.4259 | 0.0096756 | 54.4284 | 5625.3018 | 9.2777 | uH
97 | -27.5 | 7 | 0.041855 | 0.0051392 | -27.5 | 1.0881 | -15.9413 | 4.18553241638646E-002+5.13918759890884E-003i | 54.365369543263+0.559783116724227i | 54.3654 | 0.55978 | 0.00091848 | uH | 54.3683 | 0.010297 | 54.3711 | 5280.45 | 8.664 | uH
97.5 | -27.6 | 7.5 | 0.04133 | 0.0054412 | -27.6 | 1.087 | -15.9129 | 4.13303008105737E-002+5.4412373277504E-003i | 54.3078535748638+0.59203267499636i | 54.3079 | 0.59203 | 0.00096641 | uH | 54.3111 | 0.010901 | 54.3143 | 4982.3153 | 8.1329 | uH
98 | -27.7 | 8 | 0.040809 | 0.0057353 | -27.7 | 1.086 | -15.8848 | 4.0808701436971E-002+5.73528896307259E-003i | 54.2507631993962+0.623346200559912i | 54.2508 | 0.62335 | 0.0010123 | uH | 54.2543 | 0.01149 | 54.2579 | 4722.1494 | 7.6689 | uH
98.5 | -27.8 | 8.5 | 0.040291 | 0.0060215 | -27.8 | 1.0849 | -15.8569 | 4.02905557169056E-002+6.02146389680437E-003i | 54.1941017880812+0.653740594004012i | 54.1941 | 0.65374 | 0.0010563 | uH | 54.198 | 0.012063 | 54.202 | 4493.2624 | 7.2602 | uH
99 | -27.9 | 9 | 0.039776 | 0.0062999 | -27.9 | 1.0839 | -15.8294 | 3.97758919362312E-002+6.29988238272922E-003i | 54.1378724775471+0.683232531537973i | 54.1379 | 0.68323 | 0.0010984 | uH | 54.1422 | 0.01262 | 54.1465 | 4290.4515 | 6.8974 | uH
99.5 | -28 | 9.5 | 0.039265 | 0.0065707 | -28 | 1.0829 | -15.8021 | 3.92647370185646E-002+6.57066353758239E-003i | 54.0820781769075+0.711838466166533i | 54.0821 | 0.71184 | 0.0011386 | uH | 54.0868 | 0.013162 | 54.0914 | 4109.6092 | 6.5735 | uH
100 | -28.1 | 10 | 0.038757 | 0.0068339 | -28.1 | 1.0819 | -15.775 | 3.87571165507394E-002+6.83392534235795E-003i | 54.0267215746612+0.739574628943422i | 54.0267 | 0.73957 | 0.0011771 | uH | 54.0318 | 0.013689 | 54.0368 | 3947.4497 | 6.2826 | uH
100.5 | -28.2 | 10.5 | 0.038253 | 0.0070898 | -28.2 | 1.081 | -15.7482 | 3.82530548079561E-002+7.08978464382022E-003i | 53.9718051454268+0.766457030298258i | 53.9718 | 0.76646 | 0.0012138 | uH | 53.9772 | 0.014201 | 53.9827 | 3801.3132 | 6.0199 | uH
101 | -28.3 | 11 | 0.037753 | 0.0073384 | -28.3 | 1.08 | -15.7217 | 3.77525747786302E-002+7.33835715621498E-003i | 53.917331156511+0.792501461432031i | 53.9173 | 0.7925 | 0.0012488 | uH | 53.9232 | 0.014698 | 53.929 | 3669.0237 | 5.7816 | uH
101.5 | -28.4 | 11.5 | 0.037256 | 0.0075798 | -28.4 | 1.079 | -15.6955 | 3.72556981889402E-002+7.57975746317523E-003i | 53.8633016743152+0.817723495776568i | 53.8633 | 0.81772 | 0.0012822 | uH | 53.8695 | 0.015181 | 53.8757 | 3548.7839 | 5.5646 | uH
102 | -28.5 | 12 | 0.036762 | 0.0078141 | -28.5 | 1.0781 | -15.6696 | 3.67624455270767E-002+7.81409901981691E-003i | 53.809718570579+0.842138490513592i | 53.8097 | 0.84214 | 0.001314 | uH | 53.8163 | 0.01565 | 53.8229 | 3439.0959 | 5.3662 | uH
102.5 | -28.6 | 12.5 | 0.036273 | 0.0080415 | -28.6 | 1.0772 | -15.6439 | 3.62728360671963E-002+8.04149415501976E-003i | 53.75658352847+0.865761588149223i | 53.7566 | 0.86576 | 0.0013443 | uH | 53.7636 | 0.016105 | 53.7705 | 3338.7018 | 5.1841 | uH
103 | -28.7 | 13 | 0.035787 | 0.0082621 | -28.7 | 1.0763 | -15.6185 | 3.57868878930793E-002+8.26205407388853E-003i | 53.70389804852+0.888607718139893i | 53.7039 | 0.88861 | 0.0013731 | uH | 53.7112 | 0.016546 | 53.7186 | 3246.5375 | 5.0165 | uH
103.5 | -28.8 | 13.5 | 0.035305 | 0.0084759 | -28.8 | 1.0754 | -15.5933 | 3.53046179214951E-002+8.47588886039016E-003i | 53.65166345441+0.910691598565826i | 53.6517 | 0.91069 | 0.0014004 | uH | 53.6594 | 0.016974 | 53.6671 | 3161.6964 | 4.8618 | uH
104 | -28.9 | 14 | 0.034826 | 0.0086831 | -28.9 | 1.0745 | -15.5685 | 3.48260419252765E-002+8.68310748016207E-003i | 53.5998808986064+0.932027737848419i | 53.5999 | 0.93203 | 0.0014263 | uH | 53.608 | 0.017389 | 53.6161 | 3083.4017 | 4.7186 | uH
104.5 | -29 | 14.5 | 0.034351 | 0.0088838 | -29 | 1.0736 | -15.5439 | 3.43511745561049E-002+8.88381778348737E-003i | 53.5485513678558+0.952630436508059i | 53.5486 | 0.95263 | 0.0014509 | uH | 53.557 | 0.01779 | 53.5655 | 3010.9838 | 4.5858 | uH
105 | -29.1 | 15 | 0.03388 | 0.0090781 | -29.1 | 1.0727 | -15.5196 | 3.38800293670077E-002+9.07812650843244E-003i | 53.4976756885374+0.972513788959007i | 53.4977 | 0.97251 | 0.0014741 | uH | 53.5065 | 0.018179 | 53.5154 | 2943.8627 | 4.4622 | uH
105.5 | -29.2 | 15.5 | 0.033413 | 0.0092661 | -29.2 | 1.0718 | -15.4955 | 3.34126188345707E-002+9.2661392841425E-003i | 53.447254531873+0.991691685338092i | 53.4473 | 0.99169 | 0.001496 | uH | 53.4565 | 0.018555 | 53.4657 | 2881.5332 | 4.347 | uH
106 | -29.3 | 16 | 0.032949 | 0.009448 | -29.3 | 1.071 | -15.4717 | 3.29489543808668E-002+9.44796063429103E-003i | 53.3972884190091+1.01017781336434i | 53.3973 | 1.0102 | 0.0015167 | uH | 53.4068 | 0.018918 | 53.4164 | 2823.5533 | 4.2395 | uH
106.5 | -29.4 | 16.5 | 0.032489 | 0.0096237 | -29.4 | 1.0701 | -15.4482 | 3.24890463951031E-002+9.62369398067865E-003i | 53.3477777259588+1.02798566022642i | 53.3478 | 1.028 | 0.0015362 | uH | 53.3577 | 0.01927 | 53.3676 | 2769.5349 | 4.1388 | uH
107 | -29.5 | 17 | 0.032033 | 0.0097934 | -29.5 | 1.0693 | -15.425 | 3.20329042549881E-002+9.79344164697753E-003i | 53.2987226884205+1.04512851449535i | 53.2987 | 1.0451 | 0.0015546 | uH | 53.309 | 0.019609 | 53.3192 | 2719.1356 | 4.0445 | uH
107.5 | -29.6 | 17.5 | 0.031581 | 0.0099573 | -29.6 | 1.0685 | -15.402 | 3.15805363478221E-002+9.95730486261703E-003i | 53.2501234064633+1.0616194680596i | 53.2501 | 1.0616 | 0.0015717 | uH | 53.2607 | 0.019936 | 53.2713 | 2672.0522 | 3.956 | uH
108 | -29.7 | 18 | 0.031132 | 0.010115 | -29.7 | 1.0677 | -15.3793 | 3.11319500913106E-002+1.01153837668066E-002i | 53.2019798490948+1.07747141808033i | 53.202 | 1.0775 | 0.0015878 | uH | 53.2129 | 0.020252 | 53.2238 | 2628.0155 | 3.8728 | uH
108.5 | -29.8 | 18.5 | 0.030687 | 0.010268 | -29.8 | 1.0669 | -15.3568 | 3.06871519541049E-002+1.02677774126924E-002i | 53.1542918587027+1.09269706896418i | 53.1543 | 1.0927 | 0.0016028 | uH | 53.1655 | 0.020557 | 53.1768 | 2586.7853 | 3.7945 | uH
109 | -29.9 | 19 | 0.030246 | 0.010415 | -29.9 | 1.0661 | -15.3346 | 3.02461474760706E-002+1.04145837716426E-002i | 53.1070591553797+1.10730893435137i | 53.1071 | 1.1073 | 0.0016168 | uH | 53.1186 | 0.020851 | 53.1301 | 2548.1469 | 3.7206 | uH
109.5 | -30 | 19.5 | 0.029809 | 0.010556 | -30 | 1.0653 | -15.3127 | 2.98089412882864E-002+1.05558997376594E-002i | 53.0602813411347+1.12131933911715i | 53.0603 | 1.1213 | 0.0016298 | uH | 53.0721 | 0.021133 | 53.084 | 2511.9078 | 3.651 | uH
110 | -30.1 | 20 | 0.029376 | 0.010692 | -30.1 | 1.0645 | -15.291 | 2.9375537132775E-002+1.06918211319116E-002i | 53.0139579039863+1.13474042138412i | 53.014 | 1.1347 | 0.0016418 | uH | 53.0261 | 0.021405 | 53.0382 | 2477.8948 | 3.5852 | uH
Leave intact if not using these